netDL Diagnosis       5/19/2021 6:40:10 PM

Station:  000NETDL06  /  ANLM-450262_0130016423

            Hardware/Firmware/Config
   DEVICE
028/netDL1000/SLI01M/V3.07.0

   COMPILE
V3.07.0 (Apr 09 2021 10:19:52 )

   TIME/GET
20210519173956

   RTC/GET
-- -- -- -- -- __ __ __ ss mm hh DD WW MM YY __ As Am Ah AD AW AM AY
99 01 00 00 00 00 00 00 56 39 17 19 04 05 21 00 80 C0 97 99 04 05 21 
0x20 : 53 
0x30 : 02 83 9B 15 

   SLOT
S001M106;S002M103;CRC27460
   SCAN
01 module type 106 Display-GSM-910 HW: E/0 010860521
02 module type 103 Ethernet.. HW: C/0 011180190
03 no module
04 no module
05 no module

DONE

   FACTORY
OK
SNR: 453816 HW: D/3 012490489

DONE

   MAC/GET
54:10:EC:E6:89:AD

   ERROR
No. 02  Counts: 03584 Date:   20210518133114 Queue Break
No. 05  Counts: 00066 Date:   20210518142826 Reset
No. 07  Counts: -29505 Date:   20210519174000 Storage lost
No. 10  Counts: 00058 Date:   20210518142300 System Timeout
No. 11  Counts: 00031 Date:   20210226010049 Clock delay
last MCU Stop:   20000101000000
total startup time:   20000101000049
OK

            Communication
   GETCSQ
GSM Signal Quality:

DONE

   GETLT
Searching LastTransmission for FTP transmission (Inst: 1), this may take up to a minute
LastTransmission for FTP transmission (Inst: 1) is 16.05.21 17:00:00

DONE

   IPCONFIG

IPConnection: 00000001 
IPAddress:  
SubNet:  
Gateway:  
DNS1:  
DNS2:  
Last obtained:  

DONE

   GETIPCONINFO
OK

0516223901: (31)  **** Flushing IF Route for LAN1 success****
0516223902: (31)  **** Flushing IF Route for LAN1 success****
0516223902: (31)  LANCB: Link Callback (258): State is 0x0600 =>
0516223902: (31)  IPConn1: LAN Driver successfully closed (1) (LAN1) 
0516223903: (31)  IPConn1: LAN Driver setting Interface ID to FAIL
0516223903: (31)  IPCON1: Closing connection: deinstall device done
0516223904: (31)  IPCON1: Close connection done LAN
0516223904: (31)  Starting IPConnection Inst : 1
0516223904: (31)  IPConnection Instance OK -> Name : LAN
0516223904: (31)  Connection not established yet
0516223904: (31)  Connection Type LAN
0516223904: (31)  Install com device start
0516223904: (31)  IPConn1: Install of com device (1) start (LAN1) 
0516223905: (31)  Device1: Interface Installed Tsk:31
0516223905: (31)  IPConn1: Install of com device (1) successful (LAN1) 
0516223905: (31)  Configuring LAN Connection
0516223907: (31)  LAN no DHCP
0516223907: (31)  Route found - forcing it
0516223907: (31)   SwictchRoute: Route already default, 
0516223907: (31)  SetIPConfigStruct: route already set for LAN1
0516223907: (31)  IP: 192.168.1.14 Sub: 255.255.255.0 GW: 192.168.1.0 DNS1: 0.0.0.0, DNS2: 0.0.0.0
0516223908: (31)  OTT PHYSTAT2: Physical Layer is UP!
0516223908: (31)  LANCB: Link Callback (258): State is 0x0600 =>
0516223908: (31)  IFUP: Configuring LAN Connection OK
0516223908: (31)  SUCCESS Physical Layer is UP!
0516223908: (31)  IPConnection: Semaphore signaled
0516223908: (31)  Connection already established
0516223908: (31)  IPConn 1: connvalid: 1
0516223908: (31)  IPConnection is valid
0516223908: (31)   SwictchRoute: Route already default, 
0516223908: (31)  IPConn 1: connvalid: 1
0516223909: (31)  IPConn 1: connvalid: 1
0516223909: (31)  IPConn 1: connvalid: 1
0516223916: (31)  IPConn 1: connvalid: 1
0516223916: (31)  IPConn 1: connvalid: 1
0516223916: (31)  IPConn 1: connvalid: 1
0516223938: (31)  IPConn 1: connvalid: 1
0516223941: (31)  IPConn 1: connvalid: 1
0518143012: (31)  Starting IPConnection Inst : 1
0518143013: (31)  IPConnection Instance OK -> Name : LAN
0518143013: (31)  Connection not established yet
0518143013: (31)  Connection Type LAN
0518143013: (31)  Install com device start
0518143013: (31)  IPConn1: Install of com device (1) start (LAN1) 

DONE

   GETIPCOMINFO
OK
0518143012: (31)  IPCOM1 (MSG IP): TxLen: 5183
0518143012: (31)  IPCOM1: Establish Retries: 0

DONE

   GETHTTPINFO
OK

DONE

   GETFTPINFO
OK

DONE

   GETSMTPINFO
OK
0518143006: (757)  MParsivel:  spec set stationid failed
0518143007: (757)  MParsivel:  spec set stationid failed

DONE

   GETWEBSERVINFO
OK

DONE

   GETMAINTENANCEINFO
OK

0518142829: (10)  Option announcer not set
0518142907: (10)  Received  instead of SKIPMW5617 on port 0 
0518142907: (10)  Option announcer not set
0518142907: (10)  Option announcer not set
0518142907: (10)  Announcer could not be initialized
0518143006: (757)  Received 18.05.2021 14:30:06  OK    on port 3
0518143006: (757)  Received   OK    on port 3
0518143007: (757)  Received   OK    on port 3

DONE

   GETSATINFO
OK

DONE

   GETSPSINFO
OK

DONE

   COMMSTATS
OK
<?xml version="1.0" encoding="ISO-8859-1" ?>
 <CommStats>
  <CommModule instance="1" name="FTP transmission">
   <CommPart name="task">
    <Statistic count="0" average="0" min="0" max="0"></Statistic>
    <Current startTime="2000-01-01T00:00:00" endTime="2000-01-01T00:00:00" timeDiff="0" ></Current>
   </CommPart>
   <CommPart name="taskwait">
    <Statistic count="0" average="0" min="0" max="0"></Statistic>
    <Current startTime="2000-01-01T00:00:00" endTime="2000-01-01T00:00:00" timeDiff="0" ></Current>
   </CommPart>
   <CommPart name="data">
    <Statistic count="0" average="0" min="0" max="0"></Statistic>
    <Current startTime="2000-01-01T00:00:00" endTime="2000-01-01T00:00:00" timeDiff="0" ></Current>
   </CommPart>
   <CommPart name="connection">
    <Statistic count="0" average="0" min="0" max="0"></Statistic>
    <Current startTime="2000-01-01T00:00:00" endTime="2000-01-01T00:00:00" timeDiff="0" ></Current>
   </CommPart>
   <CommPart name="transmission">
    <Statistic count="0" average="0" min="0" max="0"></Statistic>
    <Current startTime="2000-01-01T00:00:00" endTime="2000-01-01T00:00:00" timeDiff="0" ></Current>
   </CommPart>
   <CommPart name="command">
    <Statistic count="0" average="0" min="0" max="0"></Statistic>
    <Current startTime="2000-01-01T00:00:00" endTime="2000-01-01T00:00:00" timeDiff="0" ></Current>
   </CommPart>
   <CommPart name="timesync">
    <Statistic count="0" average="0" min="0" max="0"></Statistic>
    <Current startTime="2000-01-01T00:00:00" endTime="2000-01-01T00:00:00" timeDiff="0" ></Current>
   </CommPart>
   <CommPart name="connection close">
    <Statistic count="0" average="0" min="0" max="0"></Statistic>
    <Current startTime="2000-01-01T00:00:00" endTime="2000-01-01T00:00:00" timeDiff="0" ></Current>
   </CommPart>
   <CommPart name="queue">
    <Statistic count="0" average="0" min="0" max="0"></Statistic>
    <Current startTime="2000-01-01T00:00:00" endTime="2000-01-01T00:00:00" timeDiff="0" ></Current>
   </CommPart>
   <CommPart name="stats">
    <Overall>0</Overall>
    <Good>0</Good>
    <Fail>0</Fail>
    <Rejected>0</Rejected>
    <LastTransmission>01.01.00 00:00:00</LastTransmission>
   </CommPart>
  </CommModule>

 </CommStats>

DONE

            Operating System
   MEMDUMP

* * * * * * * * * * 
System Memory:

 FreeBlocks: 24
 AllocBlocks: 248
 TotalMem: 1882948
 FreeMem: 434120
 LargestFreeBlock: 353804
* * * * * * * * * * 
Microkernel Status:

 ThreadsAvail: 15
 MinThreadsAvail: 15
 WdgObjAvail: 2
 MinWdgObjAvail: 2
 SystemBlocksAvail: 81
 MinSystemBlocksAvail: 79
 IndexEntriesAvail: 75
 MinIndexEntriesAvail: 71
 SystemMemoryAvailable: 434120
* * * * * * * * * * 
Processmanager Status:

 ObjectsAvailable: 205
 MinObjectsAvailable: 205
 TasksAvailable: 49
 MinTasksAvailable: 49
* * * * * * * * * * 
NetMemStatus:

 Sockets Status:
  Size: 138
  Avail: 50
  Max: 50
  Min: 50
 
Clusters Status:
  Size: 1606
  Avail: 50
  Max: 50
  Min: 50
 
Buffers Status:
  Size: 152
  Avail: 150
  Max: 150
  Min: 150
 
Pcb Status:
  Size: 140
  Avail: 130
  Max: 130
  Min: 130
 
Util Block Status:
  Size: 78
  Avail: 160
  Max: 160
  Min: 160
 
JumboClusters Status:
  Size: 0
  Avail: 0
  Max: 0
  Min: 0

* * * * * * * * * * 
System Status:

  Size: 132
  Avail: 19
  Max: 25
  Min: 15
  Sequence: 0
Logger Alloc structures:

AllocStruct 0: Ptr->00440640 Size->6144 Task-> 757 Time->28368BE8
AllocStruct 1: Ptr->00441E40 Size->131072 Task-> 14 Time->28368BE8

LoggerAlloc: OverAllMem: 1113856 - UsedMem: 137216 - FreeMem: 976640

DONE

   OBJDUMP
RTOS Object Dump at 19.05.21 17:40:07
********************
Semaphores:

SemName: Sem/DISPSema
 SemId: 86
 SemMaxAvailable: 1
 SemAvailable: 1
 
SemName: Sem/IPCOMSem1
 SemId: 116
 SemMaxAvailable: 1
 SemAvailable: 0
 
SemName: Sem/IPConSema
 SemId: 1239
 SemMaxAvailable: 1
 SemAvailable: 1
 
SemName: Sem/LAN1
 SemId: 1284
 SemMaxAvailable: 1
 SemAvailable: 0
 
SemName: Sem/RelaisSema0
 SemId: 192
 SemMaxAvailable: 1
 SemAvailable: 1
 
SemName: Sem/RelaisSema1
 SemId: 193
 SemMaxAvailable: 1
 SemAvailable: 1
 
SemName: Sem/RelaisSema2
 SemId: 194
 SemMaxAvailable: 1
 SemAvailable: 1
 
SemName: Sem/SEMDATAFLASH
 SemId: 143
 SemMaxAvailable: 1
 SemAvailable: 1
 
SemName: Sem/SEMIIC1
 SemId: 43
 SemMaxAvailable: 1
 SemAvailable: 1
 
SemName: Sem/SEMINT0
 SemId: 1226
 SemMaxAvailable: 1
 SemAvailable: 0
 
SemName: Sem/SEMINT1
 SemId: 200
 SemMaxAvailable: 1
 SemAvailable: 1
 
SemName: Sem/SEMINT4
 SemId: 729
 SemMaxAvailable: 1
 SemAvailable: 0
 
SemName: Sem/SEMINT6
 SemId: 423
 SemMaxAvailable: 1
 SemAvailable: 0
 
SemName: Sem/SEMQUEUE
 SemId: 115
 SemMaxAvailable: 1
 SemAvailable: 1
 
SemName: Sem/SEMRTC
 SemId: 17
 SemMaxAvailable: 1
 SemAvailable: 1
 
SemName: Sem/SemInterface
 SemId: 201
 SemMaxAvailable: 1
 SemAvailable: 0
 
SemName: Sem/SerPrologSema
 SemId: 263
 SemMaxAvailable: 1
 SemAvailable: 1
 
SemName: Sem/StartTaskSema
 SemId: 123
 SemMaxAvailable: 1
 SemAvailable: 1
 
SemName: Sem/VBatSema
 SemId: 383
 SemMaxAvailable: 1
 SemAvailable: 1

********************
Tasks:

TaskName: Task/CommOut
 TaskId: 29
 TaskPrio: 8
 TaskStatus: Dormant (0x1)
 TaskStack: 003F76CC..003F86CC
 TaskStackSize: 4096
 TaskCurrentStackPtr: 003F8656
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:28:38
 
TaskName: Task/CommOut1
 TaskId: 31
 TaskPrio: 7
 TaskStatus: Ready (0x2)
 TaskStack: 003F16BC..003F56BC
 TaskStackSize: 16384
 TaskCurrentStackPtr: 003F5494
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:30:17
 
TaskName: Task/CommOut2
 TaskId: 32
 TaskPrio: 8
 TaskStatus: Dormant (0x1)
 TaskStack: 00260000..00264000
 TaskStackSize: 16384
 TaskCurrentStackPtr: 00249CDC
 TaskMaxStackUsed: 0
 Starttime: 14.06.21 11:31:20
 
TaskName: Task/CommOut3
 TaskId: 33
 TaskPrio: 8
 TaskStatus: Dormant (0x1)
 TaskStack: 00264008..00268008
 TaskStackSize: 16384
 TaskCurrentStackPtr: 00249D98
 TaskMaxStackUsed: 0
 Starttime: 14.06.21 11:31:20
 
TaskName: Task/CommOut4
 TaskId: 34
 TaskPrio: 8
 TaskStatus: Dormant (0x1)
 TaskStack: 00268010..0026C010
 TaskStackSize: 16384
 TaskCurrentStackPtr: 00249E54
 TaskMaxStackUsed: 0
 Starttime: 14.06.21 11:31:20
 
TaskName: Task/CommOut5
 TaskId: 35
 TaskPrio: 8
 TaskStatus: Dormant (0x1)
 TaskStack: 00270000..00274000
 TaskStackSize: 16384
 TaskCurrentStackPtr: 00249F10
 TaskMaxStackUsed: 0
 Starttime: 14.06.21 11:31:20
 
TaskName: Task/Communication1
 TaskId: 137
 TaskPrio: 8
 TaskStatus: Dormant (0x1)
 TaskStack: 0027BE28..0027FE28
 TaskStackSize: 16384
 TaskCurrentStackPtr: 0027C588
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:28:38
 
TaskName: Task/Communication2
 TaskId: 138
 TaskPrio: 8
 TaskStatus: Dormant (0x1)
 TaskStack: 00280000..00284000
 TaskStackSize: 16384
 TaskCurrentStackPtr: 0024A378
 TaskMaxStackUsed: 0
 Starttime: 14.06.21 11:31:20
 
TaskName: Task/Communication3
 TaskId: 139
 TaskPrio: 8
 TaskStatus: Dormant (0x1)
 TaskStack: 00284008..00288008
 TaskStackSize: 16384
 TaskCurrentStackPtr: 0024A434
 TaskMaxStackUsed: 0
 Starttime: 20.06.21 23:53:50
 
TaskName: Task/Communication4
 TaskId: 140
 TaskPrio: 10
 TaskStatus: Active (0x3)
 TaskStack: 00288010..0028C010
 TaskStackSize: 16384
 TaskCurrentStackPtr: 00289ACC
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:29:16
 
TaskName: Task/Database
 TaskId: 27
 TaskPrio: 12
 TaskStatus: Dormant (0x1)
 TaskStack: 003FA6DC..003FC6DC
 TaskStackSize: 8192
 TaskCurrentStackPtr: 003FC69A
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:30:17
 
TaskName: Task/Display
 TaskId: 30
 TaskPrio: 10
 TaskStatus: Dormant (0x1)
 TaskStack: 003F56C4..003F76C4
 TaskStackSize: 8192
 TaskCurrentStackPtr: 003F75D4
 TaskMaxStackUsed: 0
 Starttime: 19.05.21 16:56:21
 
TaskName: Task/HistDBWorker
 TaskId: 36
 TaskPrio: 8
 TaskStatus: Dormant (0x1)
 TaskStack: 00274008..00278008
 TaskStackSize: 16384
 TaskCurrentStackPtr: 00249FCC
 TaskMaxStackUsed: 0
 Starttime: 26.06.21 21:36:44
 
TaskName: Task/IPIdle
 TaskId: 28
 TaskPrio: 2
 TaskStatus: Ready (0x2)
 TaskStack: 003F86D4..003FA6D4
 TaskStackSize: 8192
 TaskCurrentStackPtr: 003FA672
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:28:32
 
TaskName: Task/JogIntHandler
 TaskId: 24
 TaskPrio: 13
 TaskStatus: Waiting for interrupt (0x4005)
 TaskStack: 0025D394..0025DB94
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0025DB5C
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:28:32
 
TaskName: Task/Measure
 TaskId: 25
 TaskPrio: 11
 TaskStatus: Waiting for common event flag (0x4003)
 TaskStack: 0025DB9C..0025FB9C
 TaskStackSize: 8192
 TaskCurrentStackPtr: 0025FA84
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:31:06
 
TaskName: Task/ProcessData
 TaskId: 26
 TaskPrio: 9
 TaskStatus: Waiting for common event flag (0x4003)
 TaskStack: 003FC6E4..003FE6E4
 TaskStackSize: 8192
 TaskCurrentStackPtr: 003FE5FE
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:30:06
 
TaskName: Task/RTCIntHandler
 TaskId: 23
 TaskPrio: 13
 TaskStatus: Waiting for interrupt (0x4005)
 TaskStack: 0025CB8C..0025D38C
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0025D354
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:28:32
 
TaskName: Task/Run7001114
 TaskId: 1870
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0037BF38..0037C738
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0037C5E8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:31:06
 
TaskName: Task/Run7001129
 TaskId: 3236
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0034E998..0034F198
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0034F048
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:32:06
 
TaskName: Task/Run7001144
 TaskId: 4811
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0032C110..0032C910
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0032C7C0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:33:06
 
TaskName: Task/Run7001159
 TaskId: 6550
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002FC018..002FC818
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002FC6C8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:34:06
 
TaskName: Task/Run7001174
 TaskId: 8264
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002DC018..002DC818
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002DC6C8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:35:06
 
TaskName: Task/Run7001189
 TaskId: 10342
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002BC018..002BC818
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002BC6C8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:36:06
 
TaskName: Task/Run7001204
 TaskId: 12376
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0029C018..0029C818
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0029C6C8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:37:06
 
TaskName: Task/Run7001219
 TaskId: 14903
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00387908..00388108
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00387FB8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:38:06
 
TaskName: Task/Run7001234
 TaskId: 17506
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0038D968..0038E168
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0038E018
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:39:06
 
TaskName: Task/Run7001249
 TaskId: 20657
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00393030..00393830
 TaskStackSize: 2048
 TaskCurrentStackPtr: 003936E0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:40:06
 
TaskName: Task/Run7002115
 TaskId: 1871
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0037C740..0037CF40
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0037CDF0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:31:06
 
TaskName: Task/Run7002130
 TaskId: 3284
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0033C110..0033C910
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0033C7C0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:32:06
 
TaskName: Task/Run7002145
 TaskId: 4819
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0032C918..0032D118
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0032CFC8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:33:06
 
TaskName: Task/Run7002160
 TaskId: 6510
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002FC820..002FD020
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002FCED0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:34:06
 
TaskName: Task/Run7002175
 TaskId: 8277
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002DC820..002DD020
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002DCED0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:35:06
 
TaskName: Task/Run7002190
 TaskId: 9970
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002BC820..002BD020
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002BCED0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:36:06
 
TaskName: Task/Run7002205
 TaskId: 12445
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0029C820..0029D020
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0029CED0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:37:06
 
TaskName: Task/Run7002220
 TaskId: 14818
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00388110..00388910
 TaskStackSize: 2048
 TaskCurrentStackPtr: 003887C0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:38:06
 
TaskName: Task/Run7002235
 TaskId: 17603
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0038E170..0038E970
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0038E820
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:39:06
 
TaskName: Task/Run7002250
 TaskId: 20609
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00393838..00394038
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00393EE8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:40:06
 
TaskName: Task/Run7003116
 TaskId: 1868
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0037CF48..0037D748
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0037D5F8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:31:06
 
TaskName: Task/Run7003131
 TaskId: 3230
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0033C918..0033D118
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0033CFC8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:32:06
 
TaskName: Task/Run7003146
 TaskId: 4860
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0032D120..0032D920
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0032D7D0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:33:06
 
TaskName: Task/Run7003161
 TaskId: 6530
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002FD028..002FD828
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002FD6D8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:34:06
 
TaskName: Task/Run7003176
 TaskId: 8363
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002DD028..002DD828
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002DD6D8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:35:06
 
TaskName: Task/Run7003191
 TaskId: 10330
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002BD028..002BD828
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002BD6D8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:36:06
 
TaskName: Task/Run7003206
 TaskId: 12460
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0029D028..0029D828
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0029D6D8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:37:06
 
TaskName: Task/Run7003221
 TaskId: 14853
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00388918..00389118
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00388FC8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:38:06
 
TaskName: Task/Run7003236
 TaskId: 17554
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0038E978..0038F178
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0038F028
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:39:06
 
TaskName: Task/Run7003251
 TaskId: 19355
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00394040..00394840
 TaskStackSize: 2048
 TaskCurrentStackPtr: 003946F0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:40:06
 
TaskName: Task/Run7004117
 TaskId: 1872
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0037D750..0037DF50
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0037DE00
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:31:06
 
TaskName: Task/Run7004132
 TaskId: 3271
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0033D120..0033D920
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0033D7D0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:32:06
 
TaskName: Task/Run7004147
 TaskId: 4838
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0032D928..0032E128
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0032DFD8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:33:06
 
TaskName: Task/Run7004162
 TaskId: 6565
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002FD830..002FE030
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002FDEE0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:34:06
 
TaskName: Task/Run7004177
 TaskId: 8348
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002DD830..002DE030
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002DDEE0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:35:06
 
TaskName: Task/Run7004192
 TaskId: 10337
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002BD830..002BE030
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002BDEE0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:36:06
 
TaskName: Task/Run7004207
 TaskId: 12469
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0029D830..0029E030
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0029DEE0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:37:06
 
TaskName: Task/Run7004222
 TaskId: 14751
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00389120..00389920
 TaskStackSize: 2048
 TaskCurrentStackPtr: 003897D0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:38:06
 
TaskName: Task/Run7004237
 TaskId: 17490
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0038F180..0038F980
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0038F830
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:39:06
 
TaskName: Task/Run7004252
 TaskId: 20533
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00394848..00395048
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00394EF8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:40:06
 
TaskName: Task/Run7005118
 TaskId: 1840
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0037DF58..0037E758
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0037E608
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:31:06
 
TaskName: Task/Run7005133
 TaskId: 3281
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0033D928..0033E128
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0033DFD8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:32:06
 
TaskName: Task/Run7005148
 TaskId: 4827
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0032E130..0032E930
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0032E7E0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:33:06
 
TaskName: Task/Run7005163
 TaskId: 6531
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002FE038..002FE838
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002FE6E8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:34:06
 
TaskName: Task/Run7005178
 TaskId: 8309
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002DE038..002DE838
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002DE6E8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:35:06
 
TaskName: Task/Run7005193
 TaskId: 10299
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002BE038..002BE838
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002BE6E8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:36:06
 
TaskName: Task/Run7005208
 TaskId: 12498
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0029E038..0029E838
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0029E6E8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:37:06
 
TaskName: Task/Run7005223
 TaskId: 14949
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00389928..0038A128
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00389FD8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:38:06
 
TaskName: Task/Run7005238
 TaskId: 17728
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 003F0EB4..003F16B4
 TaskStackSize: 2048
 TaskCurrentStackPtr: 003F1564
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:39:06
 
TaskName: Task/Run7005253
 TaskId: 20656
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00395050..00395850
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00395700
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:40:06
 
TaskName: Task/Run7006119
 TaskId: 1852

askPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0037E760..0037EF60
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0037EE10
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:31:06
 
TaskName: Task/Run7006134
 TaskId: 3326
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0033E130..0033E930
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0033E7E0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:32:06
 
TaskName: Task/Run7006149
 TaskId: 4812
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0032E938..0032F138
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0032EFE8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:33:06
 
TaskName: Task/Run7006164
 TaskId: 6132
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002FE840..002FF040
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002FEEF0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:34:07
 
TaskName: Task/Run7006179
 TaskId: 8376
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002DE840..002DF040
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002DEEF0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:35:07
 
TaskName: Task/Run7006194
 TaskId: 10077
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002BE840..002BF040
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002BEEF0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:36:06
 
TaskName: Task/Run7006209
 TaskId: 12412
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0029E840..0029F040
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0029EEF0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:37:06
 
TaskName: Task/Run7006224
 TaskId: 14967
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0038A130..0038A930
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0038A7E0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:38:06
 
TaskName: Task/Run7006239
 TaskId: 17512
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 003F06AC..003F0EAC
 TaskStackSize: 2048
 TaskCurrentStackPtr: 003F0D5C
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:39:06
 
TaskName: Task/Run7006254
 TaskId: 20601
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00395858..00396058
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00395F08
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:40:06
 
TaskName: Task/Run7007120
 TaskId: 1521
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0037EF68..0037F768
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0037F618
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:31:06
 
TaskName: Task/Run7007135
 TaskId: 3329
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0033E938..0033F138
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0033EFE8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:32:07
 
TaskName: Task/Run7007150
 TaskId: 4916
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0030C018..0030C818
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0030C6C8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:33:07
 
TaskName: Task/Run7007165
 TaskId: 6560
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002EC018..002EC818
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002EC6C8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:34:07
 
TaskName: Task/Run7007180
 TaskId: 8365
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002CC018..002CC818
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002CC6C8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:35:07
 
TaskName: Task/Run7007195
 TaskId: 10346
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002AC018..002AC818
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002AC6C8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:36:07
 
TaskName: Task/Run7007210
 TaskId: 12501
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0028D62C..0028DE2C
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0028DCDC
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:37:06
 
TaskName: Task/Run7007225
 TaskId: 14683
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0038A938..0038B138
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0038AFE8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:38:07
 
TaskName: Task/Run7007240
 TaskId: 17550
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00390000..00390800
 TaskStackSize: 2048
 TaskCurrentStackPtr: 003906B0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:39:07
 
TaskName: Task/Run7007255
 TaskId: 20655
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00396060..00396860
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00396710
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:40:07
 
TaskName: Task/Run7008121
 TaskId: 1884
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0034C170..0034C970
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0034C820
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:31:07
 
TaskName: Task/Run7008136
 TaskId: 3373
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0033F140..0033F940
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0033F7F0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:32:07
 
TaskName: Task/Run7008151
 TaskId: 4816
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0030C820..0030D020
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0030CED0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:33:07
 
TaskName: Task/Run7008166
 TaskId: 6590
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002EC820..002ED020
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002ECED0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:34:07
 
TaskName: Task/Run7008181
 TaskId: 8377
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002CC820..002CD020
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002CCED0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:35:07
 
TaskName: Task/Run7008196
 TaskId: 10291
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002AC820..002AD020
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002ACED0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:36:07
 
TaskName: Task/Run7008211
 TaskId: 12471
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0028DE34..0028E634
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0028E4E4
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:37:07
 
TaskName: Task/Run7008226
 TaskId: 14918
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0038B140..0038B940
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0038B7F0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:38:07
 
TaskName: Task/Run7008241
 TaskId: 17522
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00390808..00391008
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00390EB8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:39:07
 
TaskName: Task/Run7008256
 TaskId: 20605
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00396868..00397068
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00396F18
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:40:07
 
TaskName: Task/Run7009122
 TaskId: 1857
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0034C978..0034D178
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0034D028
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:31:07
 
TaskName: Task/Run7009137
 TaskId: 3323
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0034272C..00342F2C
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00342DDC
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:32:07
 
TaskName: Task/Run7009152
 TaskId: 4813
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0030D028..0030D828
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0030D6D8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:33:07
 
TaskName: Task/Run7009167
 TaskId: 6562
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002ED028..002ED828
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002ED6D8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:34:07
 
TaskName: Task/Run7009182
 TaskId: 8388
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002CD028..002CD828
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002CD6D8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:35:07
 
TaskName: Task/Run7009197
 TaskId: 10205
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002AD028..002AD828
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002AD6D8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:36:07
 
TaskName: Task/Run7009212
 TaskId: 12439
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0028E63C..0028EE3C
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0028ECEC
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:37:07
 
TaskName: Task/Run7009227
 TaskId: 14824
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0038B948..0038C148
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0038BFF8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:38:07
 
TaskName: Task/Run7009242
 TaskId: 17542
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00391010..00391810
 TaskStackSize: 2048
 TaskCurrentStackPtr: 003916C0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:39:07
 
TaskName: Task/Run7009257
 TaskId: 20593
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00397070..00397870
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00397720
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:40:07
 
TaskName: Task/Run700A123
 TaskId: 1895
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0034D180..0034D980
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0034D830
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:31:07
 
TaskName: Task/Run700A138
 TaskId: 2201
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00341F24..00342724
 TaskStackSize: 2048
 TaskCurrentStackPtr: 003425D4
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:32:07
 
TaskName: Task/Run700A153
 TaskId: 4902
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0030D830..0030E030
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0030DEE0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:33:07
 
TaskName: Task/Run700A168
 TaskId: 6587
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002ED830..002EE030
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002EDEE0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:34:07
 
TaskName: Task/Run700A183
 TaskId: 8381
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002CD830..002CE030
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002CDEE0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:35:07
 
TaskName: Task/Run700A198
 TaskId: 9971
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002AD830..002AE030
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002ADEE0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:36:07
 
TaskName: Task/Run700A213
 TaskId: 12494
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0028EE44..0028F644
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0028F4F4
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:37:07
 
TaskName: Task/Run700A228
 TaskId: 14733
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0038C150..0038C950
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0038C800
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:38:07
 
TaskName: Task/Run700A243
 TaskId: 17718
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00391818..00392018
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00391EC8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:39:07
 
TaskName: Task/Run700A258
 TaskId: 20726
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00397878..00398078
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00397F28
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:40:07
 
TaskName: Task/Run700B124
 TaskId: 1865
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0034D988..0034E188
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0034E038
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:31:07
 
TaskName: Task/Run700B139
 TaskId: 3290
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0034171C..00341F1C
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00341DCC
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:32:07
 
TaskName: Task/Run700B154
 TaskId: 4922
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0030E038..0030E838
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0030E6E8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:33:07
 
TaskName: Task/Run700B169
 TaskId: 6591
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002EE038..002EE838
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002EE6E8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:34:07
 
TaskName: Task/Run700B184
 TaskId: 8431
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002CE038..002CE838
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002CE6E8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:35:07
 
TaskName: Task/Run700B199
 TaskId: 10418
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002AE038..002AE838
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002AE6E8
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:36:07
 
TaskName: Task/Run700B214
 TaskId: 12550
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0038683C..0038703C
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00386EEC
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:37:07
 
TaskName: Task/Run700B229
 TaskId: 14799
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0038C958..0038D158
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0038D008
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:38:07
 
TaskName: Task/Run700B244
 TaskId: 17758
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00392020..00392820
 TaskStackSize: 2048
 TaskCurrentStackPtr: 003926D0
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:39:07
 
TaskName: Task/Run700B259
 TaskId: 20608
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00398080..00398880
 TaskStackSize: 2048
 TaskCurrentStackPtr: 00398730
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:40:07
 
TaskName: Task/Run7501125
 TaskId: 1623
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0034E190..0034E990
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0034E84E
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:31:07
 
TaskName: Task/Run7501140
 TaskId: 3320
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00340F14..00341714
 TaskStackSize: 2048
 TaskCurrentStackPtr: 003415D2
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:32:08
 
TaskName: Task/Run7501155
 TaskId: 4925
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 0030E840..0030F040
 TaskStackSize: 2048
 TaskCurrentStackPtr: 0030EEFE
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:33:07
 
TaskName: Task/Run7501170
 TaskId: 6574
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002EE840..002EF040
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002EEEFE
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:34:08
 
TaskName: Task/Run7501185
 TaskId: 8419
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002CE840..002CF040
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002CEEFE
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:35:08
 
TaskName: Task/Run7501200
 TaskId: 10340
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 002AE840..002AF040
 TaskStackSize: 2048
 TaskCurrentStackPtr: 002AEEFE
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:36:07
 
TaskName: Task/Run7501215
 TaskId: 12517
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: 00387100..00387900
 TaskStackSize: 2048
 TaskCurrentStackPtr: 003877BE
 TaskMaxStackUsed: 0
 Starttime: 18.05.21 14:37:07
 
TaskName: Task/Run7501230
 TaskId: 14898
 TaskPrio: 9
 TaskStatus: Waiting for semaphore (0x400f)
 TaskStack: : 38D160..„ù8
            Data
   LH
OK
NrOfUsedChannels: 13 
pDBWrite: 0008f398 
pOldestSector: 00000000 
pCurrentSector: 00080000 
pLastDBEntry: 0008f382 
LastDBEntryTime: 18.05.21 14:30:00

*********************
Ctrl for channel: 1 
SetAttribs: 0 
pOldestAttrib: 00000014 
pCurrentAttrib: 00080918 
pLastEntry: 0008f2a6 
pCurrentData: 0008f2a6 
  Attribs:
   ConfigChannel: 1 
   DataType: 5 
   StorageInterval: 00:00:00
   SampleInterval: 00:01:00
   DecimalPlaces: 3 
   Flags: 5 
   MainSensorType: 0 
********************

*********************
Ctrl for channel: 2 
SetAttribs: 0 
pOldestAttrib: 0000003a 
pCurrentAttrib: 0008096e 
pLastEntry: 0008f2bc 
pCurrentData: 0008f2bc 
  Attribs:
   ConfigChannel: 2 
   DataType: 5 
   StorageInterval: 00:00:00
   SampleInterval: 00:01:00
   DecimalPlaces: 0 
   Flags: 5 
   MainSensorType: 0 
********************

*********************
Ctrl for channel: 3 
SetAttribs: 0 
pOldestAttrib: 00000060 
pCurrentAttrib: 000809c4 
pLastEntry: 0008f2d2 
pCurrentData: 0008f2d2 
  Attribs:
   ConfigChannel: 3 
   DataType: 5 
   StorageInterval: 00:00:00
   SampleInterval: 00:01:00
   DecimalPlaces: 0 
   Flags: 5 
   MainSensorType: 0 
********************

*********************
Ctrl for channel: 4 
SetAttribs: 0 
pOldestAttrib: 00000086 
pCurrentAttrib: 00080a1a 
pLastEntry: 0008f2e8 
pCurrentData: 0008f2e8 
  Attribs:
   ConfigChannel: 4 
   DataType: 5 
   StorageInterval: 00:00:00
   SampleInterval: 00:01:00
   DecimalPlaces: 2 
   Flags: 5 
   MainSensorType: 0 
********************

*********************
Ctrl for channel: 5 
SetAttribs: 0 
pOldestAttrib: 000000d2 
pCurrentAttrib: 00080050 
pLastEntry: 0008f2fe 
pCurrentData: 0008f2fe 
  Attribs:
   ConfigChannel: 5 
   DataType: 5 
   StorageInterval: 00:00:00
   SampleInterval: 00:01:00
   DecimalPlaces: 0 
   Flags: 5 
   MainSensorType: 0 
********************

*********************
Ctrl for channel: 6 
SetAttribs: 0 
pOldestAttrib: 000000f8 
pCurrentAttrib: 00080a86 
pLastEntry: 0008f314 
pCurrentData: 0008f314 
  Attribs:
   ConfigChannel: 6 
   DataType: 5 
   StorageInterval: 00:00:00
   SampleInterval: 00:01:00
   DecimalPlaces: 0 
   Flags: 5 
   MainSensorType: 0 
********************

*********************
Ctrl for channel: 7 
SetAttribs: 0 
pOldestAttrib: 0000011e 
pCurrentAttrib: 0008013c 
pLastEntry: 0008f32a 
pCurrentData: 0008f32a 
  Attribs:
   ConfigChannel: 7 
   DataType: 5 
   StorageInterval: 00:00:00
   SampleInterval: 00:01:00
   DecimalPlaces: 0 
   Flags: 5 
   MainSensorType: 0 
********************

*********************
Ctrl for channel: 8 
SetAttribs: 0 
pOldestAttrib: 00000144 
pCurrentAttrib: 00088f6e 
pLastEntry: 0008f340 
pCurrentData: 0008f340 
  Attribs:
   ConfigChannel: 8 
   DataType: 5 
   StorageInterval: 00:00:00
   SampleInterval: 00:01:00
   DecimalPlaces: 1 
   Flags: 5 
   MainSensorType: 0 
********************

*********************
Ctrl for channel: 9 
SetAttribs: 0 
pOldestAttrib: 0000016a 
pCurrentAttrib: 00081302 
pLastEntry: 0008e6ea 
pCurrentData: 0008e6ea 
  Attribs:
   ConfigChannel: 9 
   DataType: 5 
   StorageInterval: 01:00:00
   SampleInterval: 00:01:00
   DecimalPlaces: 1 
   Flags: 0 
   MainSensorType: 0 
********************

*********************
Ctrl for channel: 10 
SetAttribs: 0 
pOldestAttrib: 00000190 
pCurrentAttrib: 0008a9cc 
pLastEntry: 0008f356 
pCurrentData: 0008f356 
  Attribs:
   ConfigChannel: 10 
   DataType: 5 
   StorageInterval: 00:00:00
   SampleInterval: 00:01:00
   DecimalPlaces: 0 
   Flags: 5 
   MainSensorType: 0 
********************

*********************
Ctrl for channel: 11 
SetAttribs: 0 
pOldestAttrib: 000001b6 
pCurrentAttrib: 0008aa08 
pLastEntry: 0008f36c 
pCurrentData: 0008f36c 
  Attribs:
   ConfigChannel: 11 
   DataType: 5 
   StorageInterval: 00:00:00
   SampleInterval: 00:01:00
   DecimalPlaces: 0 
   Flags: 5 
   MainSensorType: 0 
********************

*********************
Ctrl for channel: 12 
SetAttribs: 0 
pOldestAttrib: 000000ac 
pCurrentAttrib: 00080014 
pLastEntry: 0008f382 
pCurrentData: 0008f382 
  Attribs:
   ConfigChannel: 12 
   DataType: 5 
   StorageInterval: 00:01:00
   SampleInterval: 00:01:00
   DecimalPlaces: 0 
   Flags: 0 
   MainSensorType: 0 
********************

*********************
Ctrl for channel: 13 
SetAttribs: 0 
pOldestAttrib: 000001dc 
pCurrentAttrib: 0008123e 
pLastEntry: 0008e624 
pCurrentData: 0008e624 
  Attribs:
   ConfigChannel: 13 
   DataType: 5 
   StorageInterval: 01:00:00
   SampleInterval: 00:01:00
   DecimalPlaces: 2 
   Flags: 0 
   MainSensorType: 0 
********************

*********************
Ctrl for channel: 121 
SetAttribs: 0 
pOldestAttrib: 00000202 
pCurrentAttrib: 0008f292 
pLastEntry: 0008f292 
pCurrentData: 00000000 
  Attribs:
   ConfigChannel: 0 
   DataType: 0 
   StorageInterval: 00:00:00
   SampleInterval: 00:00:00
   DecimalPlaces: 0 
   Flags: 0 
   MainSensorType: 0 
********************

DONE

   LASTVALUES
Processing data for Channels
0100010301040133011001110112081608170818082501930800
<StationDataList> 
<StationData stationId="000NETDL06" name="ANLM-450262_0130016423" timezone="+01:00"  >
 <ChannelData channelId="0100" name="Rain intensity Parsivel2" unit="mm/h" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
  <Values>
   <VT t="2021-05-18T14:30:00">0.000</VT>
  </Values>
 </ChannelData>
 <ChannelData channelId="0103" name="Weather Code Synop 4680" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
  <Values>
   <VT t="2021-05-18T14:30:00">0</VT>
  </Values>
 </ChannelData>
 <ChannelData channelId="0104" name="Weather Code Synop 4677" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
  <Values>
   <VT t="2021-05-18T14:30:00">0</VT>
  </Values>
 </ChannelData>
 <ChannelData channelId="0133" name="Radar refectivity" unit="dBz" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
  <Values>
   <VT t="2021-05-18T14:30:00">-9.99</VT>
  </Values>
 </ChannelData>
 <ChannelData channelId="0110" name="Signal amplitude Parsivel2" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
  <Values>
   <VT t="2021-05-18T14:30:00">19640</VT>
  </Values>
 </ChannelData>
 <ChannelData channelId="0111" name="Number of particles detected and validat" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
  <Values>
   <VT t="2021-05-18T14:30:00">0</VT>
  </Values>
 </ChannelData>
 <ChannelData channelId="0112" name="Temperature housing Parsivel2" unit="&#176;C" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
  <Values>
   <VT t="2021-05-18T14:30:00">25</VT>
  </Values>
 </ChannelData>
 <ChannelData channelId="0816" name="Sensor head heating current" unit="A" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
  <Values>
   <VT t="2021-05-18T14:30:00">0.5</VT>
  </Values>
 </ChannelData>
 <ChannelData channelId="0817" name="Power supply Parsivel2" unit="V" samplingInterval="60" storageInterval="3600" configuredSamplingInterval="60" configuredStorageInterval="3600"  >
  <Values>
   <VT t="2021-05-17T11:00:00">24.3</VT>
  </Values>
 </ChannelData>
 <ChannelData channelId="0818" name="Sensor status Parsivel2" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
  <Values>
   <VT t="2021-05-18T14:30:00">0</VT>
  </Values>
 </ChannelData>
 <ChannelData channelId="0825" name="Error code Parsivel2" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
  <Values>
   <VT t="2021-05-18T14:30:00">0</VT>
  </Values>
 </ChannelData>
 <ChannelData channelId="0193" name="Spectrum" unit="" samplingInterval="60" storageInterval="60" configuredSamplingInterval="60" configuredStorageInterval="60"  >
  <Values>
   <VT t="2021-05-18T14:30:00">5183</VT>
  </Values>
 </ChannelData>
 <ChannelData channelId="0800" name="Power supply logger" unit="" samplingInterval="60" storageInterval="3600" configuredSamplingInterval="60" configuredStorageInterval="3600"  >
  <Values>
   <VT t="2021-05-17T11:00:00">13.92</VT>
  </Values>
 </ChannelData>
 </StationData>
</StationDataList>
DONE

   MOMVALUES
Processing channels 0100010301040133011001110112081608170818082501930800 please wait...
<?xml version="1.0" encoding="ISO-8859-1" ?>
<StationDataList> 
<StationData stationId="000NETDL06" name="ANLM-450262_0130016423" timezone="+01:00"  >
 <ChannelData channelId="0100" name="Rain intensity Parsivel2" unit="mm/h" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
   <VInst t="2021-05-19T17:40:11">0.000</VInst>
 </ChannelData>
 <ChannelData channelId="0103" name="Weather Code Synop 4680" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
   <VInst t="2021-05-19T17:40:12">0</VInst>
 </ChannelData>
 <ChannelData channelId="0104" name="Weather Code Synop 4677" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
   <VInst t="2021-05-19T17:40:12">0</VInst>
 </ChannelData>
 <ChannelData channelId="0133" name="Radar refectivity" unit="dBz" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
   <VInst t="2021-05-19T17:40:12">-9.99</VInst>
 </ChannelData>
 <ChannelData channelId="0110" name="Signal amplitude Parsivel2" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
   <VInst t="2021-05-19T17:40:12">19640</VInst>
 </ChannelData>
 <ChannelData channelId="0111" name="Number of particles detected and validat" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
   <VInst t="2021-05-19T17:40:12">0</VInst>
 </ChannelData>
 <ChannelData channelId="0112" name="Temperature housing Parsivel2" unit="&#176;C" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
   <VInst t="2021-05-19T17:40:13">25</VInst>
 </ChannelData>
 <ChannelData channelId="0816" name="Sensor head heating current" unit="A" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
   <VInst t="2021-05-19T17:40:13">0.5</VInst>
 </ChannelData>
 <ChannelData channelId="0817" name="Power supply Parsivel2" unit="V" samplingInterval="60" storageInterval="3600" configuredSamplingInterval="60" configuredStorageInterval="3600"  >
   <VInst t="2021-05-19T17:40:13">24.3</VInst>
 </ChannelData>
 <ChannelData channelId="0818" name="Sensor status Parsivel2" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
   <VInst t="2021-05-19T17:40:13">0</VInst>
 </ChannelData>
 <ChannelData channelId="0825" name="Error code Parsivel2" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
   <VInst t="2021-05-19T17:40:13">0</VInst>
 </ChannelData>
 <ChannelData channelId="0193" name="Spectrum" unit="" samplingInterval="60" storageInterval="60" configuredSamplingInterval="60" configuredStorageInterval="60"  >
 </ChannelData>
 <ChannelData channelId="0800" name="Power supply logger" unit="" samplingInterval="60" storageInterval="3600" configuredSamplingInterval="60" configuredStorageInterval="3600"  >
   <VInst t="2021-05-19T17:40:14">13.92</VInst>
 </ChannelData>
 </StationData>
</StationDataList>
Length:3318

DONE

            Events
   EVENT/GET/20210518184029
Start: 18.05.21 18:40:29
End: 19.05.21 17:40:14
Channels: 0100010301040133011001110112081608170818082501930800
Please wait...
<?xml version="1.0" encoding="ISO-8859-1" ?>
<StationDataList> 
<StationData stationId="000NETDL06" name="ANLM-450262_0130016423" timezone="+01:00"  >
 <StationInfo time="2021-05-19T17:40:14" firmware="V3070" configtime="2021-03-22T13:13:14" paramtime="2021-05-10T10:53:22" batteryVoltage="13.92" temperature="0.00" deviceType="OTT netDL 1000"  lon="4.37868" lat="51.99617" providerName="none" gsmSignal="0" ipAddress="0.0.0.0" transmissionCycle="360" transmissionOffset="0" configuredTransmissionCycle="360" />                                         
 <StationEvents>
 </StationEvents>
 <ChannelData channelId="0100" name="Rain intensity Parsivel2" unit="mm/h" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
 </ChannelData>
 <ChannelData channelId="0103" name="Weather Code Synop 4680" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
 </ChannelData>
 <ChannelData channelId="0104" name="Weather Code Synop 4677" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
 </ChannelData>
 <ChannelData channelId="0133" name="Radar refectivity" unit="dBz" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
 </ChannelData>
 <ChannelData channelId="0110" name="Signal amplitude Parsivel2" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
 </ChannelData>
 <ChannelData channelId="0111" name="Number of particles detected and validat" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
 </ChannelData>
 <ChannelData channelId="0112" name="Temperature housing Parsivel2" unit="&#176;C" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
 </ChannelData>
 <ChannelData channelId="0816" name="Sensor head heating current" unit="A" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
 </ChannelData>
 <ChannelData channelId="0817" name="Power supply Parsivel2" unit="V" samplingInterval="60" storageInterval="3600" configuredSamplingInterval="60" configuredStorageInterval="3600"  >
 </ChannelData>
 <ChannelData channelId="0818" name="Sensor status Parsivel2" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
 </ChannelData>
 <ChannelData channelId="0825" name="Error code Parsivel2" unit="" samplingInterval="60" storageInterval="0" configuredSamplingInterval="60" configuredStorageInterval="0"  >
 </ChannelData>
 <ChannelData channelId="0193" name="Spectrum" unit="" samplingInterval="60" storageInterval="60" configuredSamplingInterval="60" configuredStorageInterval="60"  >
 </ChannelData>
 <ChannelData channelId="0800" name="Power supply logger" unit="" samplingInterval="60" storageInterval="3600" configuredSamplingInterval="60" configuredStorageInterval="3600"  >
 </ChannelData>
 </StationData>
</StationDataList>
DONE